## Instructions
NGSP
LEVEL I LABORATORY CERTIFICATION
Instructions
1. Refer to Level I Laboratory Certification Packet for detailed instructions regarding sample
selection and analysis procedures.
2. Fill out all applicable information on Data Sheets A and 2.
3. Resave the file using the laboratory, method name (may abbreviate) and date as the
file name (e.g. laboratory_method name_061500.xls)
4. Send file as an e-mail attachment to LittleR@health.missouri.edu

## Data Sheet A
NGSP
LEVEL I LABORATORY CERTIFICATION
Data Sheet #A:
Laboratory Name:
Method/Manufacturer Name:
Contact person:
Address:
Phone:
FAX:
E-Mail:
fill in all that apply to your method as used during the certification process:
Instrument
Program, Application, or Conversion Equation (if applicable)
Calibrator Lot # | Assigned Value
Reagent ID (e.g. buffers, hemolyzing reagents, reagent cartridges, etc) | Lot # |  | Sample collection Device Description (if other than the usual method described in the package insert) | Lot #
Column (HPLC cartridge) Lot # |  | ** FOR RE-CERTIFICATION ONLY ** Desired date of certification

## Data Sheet 2
NGSP
LEVEL I LABORATORY CERTIFICATION
DATA SHEET #2: METHOD COMPARISON & BIAS ESTIMATION
Method: | 0
| Contact person: | 0
| Address: | 0
0
0
| Phone | 0
| FAX: | 0
| e- mail: | 0
|  | Sample ID | Assay Date | Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## Monitoring Instructions
LEVEL I LABORATORY CERTIFICATION
QUARTERLY MONITORING
Procedure:
1. Specimens (n=10) over the desired clinical range (4-14%) are shipped to the laboratory within 2-3 days of collection.
2. Each specimen should be analyzed in two separate runs on two separate days.
3. Follow the laboratory’s routine quality control procedures during these analyses; repeat any run that is rejected.
4. Record data on Data Sheet #3.
NOTE: Level I Laboratories must send in data and pass the quarterly monitoring criteria in order to maintain their certification status.

## Monitoring Data Sheet #3
LEVEL I LABORATORY CERTIFICATION
DATA SHEET #3: QUARTERLY MONITORING
Laboratory: | _______________________
Method: | _______________________
Contact person:
Address:
Phone:
FAX:
e-mail:
Sample ID | Assay Date | Day 1 Result | Assay Date | Day 2 Result | Comments