## Instructions
NGSP
LEVEL II LABORATORY CERTIFICATION
Instructions
1. Refer to Level II Laboratory Certification Packet for detailed instructions regarding sample
selection and analysis procedures.
2. Fill out all applicable information on Data Sheets A and 2.
3. Resave the file using the laboratory, method name (may abbreviate) and date as the
file name (e.g. laboratory_method name_061500.xls)
4. Send file as an e-mail attachment to LittleR@health.missouri.edu

## Data Sheet A
NGSP
LEVEL II LABORATORY CERTIFICATION
Data Sheet #A:
Laboratory Name:
Method/Manufacturer Name:
Contact person:
Address:
Phone:
FAX:
E-Mail:
fill in all that apply to your method as used during the certification process:
Instrument
Program, Application, or Conversion Equation (if applicable)
Calibrator Lot # | Assigned Value
Reagent ID (e.g. buffers, hemolyzing reagents, reagent cartridges, etc) | Lot # |  | Sample collection Device Description (if other than the usual method described in the package insert) | Lot #
Column (HPLC cartridge) Lot # |  | ** FOR RE-CERTIFICATION ONLY ** Desired date of certification

## Data Sheet 2
NGSP
LEVEL II LABORATORY CERTIFICATION
DATA SHEET #2: METHOD COMPARISON & BIAS ESTIMATION
Method: | 0
| Contact person: | 0
| Address: | 0
0
0
| Phone | 0
| FAX: | 0
| e- mail: | 0
|  | Sample ID | Assay Date | Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40