## Pre-Calibration Test Guideline
HbA1c (NGSP) System Calibration and Pre-Calibration Test Guideline
ASRL#1
[Reference Material Institute for Clinical Chemistry Standards (ReCCS), Japan]
Purpose:
System Calibration and Pre-Calibration Test of HbA1c (NGSP) Measurement System
Procedure:
Please, measure the HbA1c % in the Pre-Calibration Test Material specimens using your measurement method and instrument.
(Type A) Hemolysed erythrocytes in a physiological solution (not including plasma). Total Hb concentration is approximately 12~15g/dL.
(Type B) Separated and concentrated red cells (not including plasma). Total Hb concentration is approximately 30g/dL.
(Type C) Hemolysed whole blood. Total Hb concentration is approximately 12~15g/dL.
1. The specimens will be shipped to you by ASRL#1 (Laboratory of ReCCS, Japan) frozen and on a dry ice.
2. Upon receipt, please check if some dry ice still remains in the shipping box, and immediately store the specimens
in a deep freezer (-70℃ or below) until measurement.
3. Each specimen should be analyzed two times for pre-calibration test in one assay date (Result 1, Result 2).
4. After thawed at room temperature, please mix several times the content of each vial,
and measure within 2 hours HbA1c values by appropriate diluting of the samples
manually or automatically as explained in your instrument procedure manual.
Mesurement Results Report:
Please send the Pre-Calibration Test Measurement Results using the Report Form to ASRL#1 (ReCCS)
at the following e-mail address:
E-mail: ngspdata@reccs.net
Deadline： When you finish the pre-calibration test, please report your results as soon as you can.
Pre-calibration test is should be done prior to the certification test upon sample arrival.
Refer to "Summary of NGSP Certification and Procedure". http://www.reccs.or.jp/en/ngsp/
Tel: +81-45-507-6326 Fax: +81-45-530-9036

## PreCalibration Test Report Form
Pre-Calibration Test Measurement Results Report
HbA1c(NGSP) Pre-Calibration Test
HbA1c Measurement Results （NGSP %）
Pre-Calibration Test Material Level | Day 1
| Result 1 | Result 2
1
2
3
4
5
6
7
8
9
10
Assay Date
Instrument
POCT *
Reagent ID & Lot # (e.g. buffers, hemolyzing reagents, reagent cartridges, etc)
Reference Material
Manufacturer's calibrator
Sample Dilution Buffer
Dilution Ratio
Dilution Method
Injected Sample Volume
Laboratory Name
Department
Address
Operating Person Adviser
Operating Person
Telephone Number
FAX Number
E-mail Address
*If your Instrument is POCT, please write POCT. Otherwhise leave it blank.
Pre-calibration test is required prior to the certification test! It should be done upon sample arrival.
Refer to "Summary of NGSP Certification and Procedure". http://www.reccs.or.jp/en/ngsp/
Please send the Pre-Calibration Test Measurement Results using the Report Form to ASRL#1 (ReCCS)
at the following e-mail address:
E-mail: ngspdata@reccs.net
Deadline：When you finish the pre-calibration test,
please report your results as soon as you can.